## PPIC Sacramento Valley GSP
PPIC Sacramento Valley GSP Supply and Demand Projects
From Data Set: PPIC Sacramento Valley GSP Supply and Demand Projects
These spreadsheets contain data, sources, and methods used in the December 2023 blog post,
"Addressing Groundwater Overdraft in the Sacramento Valley."
This spreadsheet includes project and management actions data collected from 16 groundwater sustainability plans (GSPs) from the 16 Sacramento Valley groundwater basins, submitted to the Department of Water Resources in January 2022. It accompanies the blog post, “Addressing Groundwater Overdraft in the Sacramento Valley,” by Spencer Cole, Kyle Greenspan, and Andrew Ayres (December 2023). Hyperlinks for each GSP are located in the "Download links for GSPs" sheet of this workbook. The "Supply & demand projects" sheet lists projects and management actions, including the project title and description, groundwater basin, implementing agency, average annual benefit in acre-feet per year, and first year of project implementation. Most basins also include many other projects that are less well-defined in terms of timeline, benefits, funding sources, and/or will only be pursued if other projects are insufficient to mitigate chronic overdraft. This dataset includes only projects with quantified benefits. We group projects into broad categories, as described in the "Project category definitions" sheet.
Suggested citation: Cole, Spencer and Kyle Greenspan. 2023. PPIC Sacramento Valley GSP Supply and Demand Projects. Public Policy Institute of California.
For questions, clarifications and comments concerning this dataset, please contact Spencer Cole.

## README
PPIC Sacramento Valley GSP Water Budgets December 7, 2023 Notes and data caveats This spreadsheet includes project and management actions data collected from 16 groundwater sustainability plans (GSPs) from the 16 Sacramento Valley groundwater basins, submitted to the Department of Water Resources in January 2022. It accompanies the blog post, “Addressing Groundwater Overdraft in the Sacramento Valley,” by Spencer Cole, Kyle Greenspan, and Andrew Ayres (December 2023). Hyperlinks for each GSP are located in the "Download links for GSPs" sheet of this workbook. The "Supply & demand projects" sheet lists projects and management actions, including the project title and description, groundwater basin, implementing agency, average annual benefit in acre-feet per year, and first year of project implementation. Most basins also include many other projects that are less well-defined in terms of timeline, benefits, funding sources, and/or will only be pursued if other projects are insufficient to mitigate chronic overdraft. This dataset includes only projects with quantified benefits. We group projects into broad categories, as described in the "Project category definitions" sheet. For questions, clarifications and comments, please reach out to Spencer Cole (scole@ppic.org). Suggested citation: Spencer Cole and Kyle Greenspan. 2023. PPIC Sacramento Valley GSP Supply and Demand Projects. Public Policy Institute of California.

## Project category definitions
PPIC Sacramento Valley GSP Supply and Demand Projects December 7, 2023 Project category definitions To develop a broader view of planned projects, we assigned each categories based on our own classifications. Categorizing projects in this way requires some judgement calls, espeically in cases where projects may fit into multiple categories. The list below provides definitions of our categories. Augmenting supplies: • Recharge includes projects that will actively recharge groundwater basins either directly (e.g. by incentivizing landowners to spread water on suitable fields when floodwater is available (on-farm recharge)) or indirectly (e.g., by incentivizing water users to use surface water in lieu of groundwater (in-lieu recharge) when surface supplies are relatively abundant). • Invasive plant removal includes projects to reduce consumption of shallow groundwater by removing invasive species, thereby augmenting groundwater supplies. Shifting surface water use: • Surface water trading includes purchases and exchanges of surface water for direct use, sometimes including making greater use of historically underutilized contracts. • Surface water treatment includes projects to allow urban areas and smaller communities to use greater amounts of surface water by expanding their treatment capabilities. • Conveyance includes projects to build or improve canals and pipelines to move more water for direct use, including conveyance of surface water to lands formerly irrigated only by groundwater. • Recycled water includes projects to expand the use of treated municipal wastewater for irrigation or municipal use. Managing demand: • Land fallowing includes projects which decrease agricultural water use by taking farmland out of production. • Irrigation efficiency includes projects to improve the efficiency of water used in farming operations. • Urban conservation includes programs to reduce water use in urban areas and smaller communities.

## Supply & demand projects
Basin number | Basin name | Project title | GSA member proposing the project | Project category (PPIC) | Project subcategory (PPIC) | Project description | Project method (PPIC) | First year of implementation | Average annual benefit at full implementation (af/y)
5-021.70 | Butte | Boundary Flow and Primary Spill Measurement | Western Canal WD | Managing demand | Irrigation efficiency | Install measurement and monitoring equipment at boundary outflow and spillage sites to allow real-time monitoring and adjustment to upstream operations. Real-time monitoring will be implemented through the establishment of a District Supervisory Control and Data Acquisition (SCADA) system. | na | 2021 | 1829
5-021.70 | Butte | Dual Source Irrigation Systems | Butte WD | Augmenting supplies | Recharge | Incentivize the use of irrigation systems capable of using both surface water and groundwater. These systems will increase use of surface water and on-farm recharge of surface water, and offset groundwater pumping. | In-lieu recharge, incentivize SW use | na | 9772
5-021.70 | Butte | Multi-Benefit Recharge |  | Augmenting supplies | Recharge | A multi-benefit recharge program will provide groundwater recharge through normal farming operations while also providing critical wetland habitat for waterbirds migrating along the Pacific Flyway. Fields with soil and cropping conditions conducive to groundwater recharge will be flooded and maintained with shallow depths. Water will be sourced from existing water rights contracts, depending on availability. GSAs may also consider financial compensation for participation to offset field preparation, irrigation, and water costs. | Direct recharge, on-farm | na | 175
5-021.70 | Butte | System Modernization | Richvale ID | Managing demand | Irrigation efficiency | Upgrade and modernize system infrastructure to improve system operability and efficiency, reduce operational spillage, and enhance the timing of farm deliveries. | na | 2016 | 3790
5-021.70 | Butte | System Modernization | Biggs-West Gridley WD | Managing demand | Irrigation efficiency | Upgrade and modernize system infrastructure to improve system operability and efficiency, reduce operational spillage, and enhance the timing of farm deliveries. | na | 2017 | 3320
5-021.52 | Colusa | CCWD In-Lieu Groundwater Recharge | Colusa County WD | Augmenting supplies | Recharge | Colusa County Water District (CCWD) includes over 45,000 acres within its service area, of which roughly 35,000 acres are irrigated. In this project, CCWD will utilize up to an additional 30 taf of surface water for irrigation in all years but Shasta Critical years, resulting in a long‐term average annual additional surface water supply of 27 taf/yr. Shasta Critical conditions are declared when the forecast inflow to Lake Shasta for a particular water year is equal to or less than 3.2 maf. The additional surface water will be made available through full use of the district's existing CVP contract and annual and multi‐year water purchase and transfer agreements. The additional water will be conveyed through the existing Tehama‐Colusa Canal (TCC) and CCWD facilities and will be used primarily on existing district lands, resulting in in‐lieu groundwater recharge through reduction of groundwater pumping. As an optional component of this project, CCWD is considering relatively small annexations of lands adjoining the district and supplying surface water to these lands in‐lieu of groundwater pumping. If these annexations proceed, the additional water may also be used on the newly annexed lands that are currently dependent on groundwater and require construction of additional infrastructure for surface water delivery. | In-lieu recharge, incentivize SW use | 2021 | 27000
5-021.52 | Colusa | CDMWC In-Lieu Groundwater Recharge | Colusa Drain MWC | Augmenting supplies | Recharge | For the period 1990 through 2015, average surface water diversions from the Drain were estimated to be 48,000 AF/yr while groundwater pumping during the same period was estimated to be 40,000 AF/yr. It is estimated that approximately 70 percent of the historical groundwater pumping can be eliminated through the provision of additional surface water, provided that the surface water cost is approximately equal to the cost of groundwater. The cost comparison of surface and groundwater would include the full cost of each source (e.g., filtering, system costs, and other on-farm costs in addition to the delivery charge per AF of surface water and variable cost to pump groundwater). The potential in-lieu recharge is estimated to be 28,000 AF/yr on average across all years, and 31,000 AF in Shasta Non-Critical years. The planned source of additional surface water is primarily upstream Sacramento River Settlement Contractors that can discharge water into the Drain for use downstream by CDMWC shareholders. | In-lieu recharge, incentivize SW use | 2021 | 28000
5-021.52 | Colusa | Colusa Subbasin Multi-Benefit Recharge | CGA, GGA, TNC | Augmenting supplies | Recharge | The Nature Conservancy (TNC) is partnering with private landowners and the Colusa and Glenn Groundwater Authorities for an on-farm, multi-benefit groundwater recharge incentive program. Surface water from the Sacramento River, subject to availability, is conveyed and applied to participating fields using existing diversion, conveyance, and on-farm infrastructure, flooding and maintaining ponded conditions during the program’s annual implementation period. | Direct recharge, on-farm | 2021 | 5200
5-021.52 | Colusa | Land Annexation and In-Lieu Groundwater Recharge | Orland-Artois WD | Shifting surface water use | Conveyance | Orland-Artois WD (OAWD), a Central Valley Project (CVP) water contractor, is working with a group of neighboring non-district landowners to annex approximately 12,000 acres into the district. Figure 6-6 illustrates the location of lands that would be annexed into the district. These lands are already developed agricultural lands that currently rely solely on groundwater for irrigation water supplies. Supplemental surface water for the annexed lands would be secured through annual and multi-year purchase or transfer agreements with willing sellers, conveyed through the existing TCC, and distributed to the annexed lands through new distribution facilities. New facilities include turnouts off the TCC, pipelines, pumping plants, and metered farm deliveries. | Extend SW deliveries | 2020 | 23000
5-021.52 | Colusa | RD 108 and CCWD Agreement for Five-Year In-Lieu Recharge Project | RD 108, CCWD | Augmenting supplies | Recharge | CCWD and Dunnigan Water District purchas surface water from RD108 for distribution within their service area. The agreement expires in 2022. This project supplies additional surface water to CCWD (and DWD) that provides in-lieu recharge. | In-lieu recharge | na | 7000
5-021.52 | Colusa | Sycamore Slough Groundwater Recharge Pilot Project | Local landowners | Augmenting supplies | Recharge | Proctor and Gamble (P&G) and Davis Ranches recently entered into a cooperative agreement to implement a 10-year groundwater recharge pilot project. The project will apply surface water diverted from the Sacramento River to a 66-acre field on Davis Ranches for groundwater recharge and to provide habitat for migrating waterfowl for 30 to 45 days during the fall or winter each year. The timing of the project may be targeted to provide fall and winter habitat for migratory shorebirds, in addition to groundwater recharge benefits. However, the precise timing of the project is flexible to accommodate changes in water availability and other factors between years. Sacramento River water is available to Davis Ranches under riparian rights and a Sacramento River settlement contract with Reclamation. If the project starts before November 1, settlement contract water would be used. Otherwise, riparian water rights would be exercised for beneficial use (habitat). The objective is to recharge 5,000 acre-feet over the 10-year study period and to revegetate a portion of Sycamore Slough. Monitoring of groundwater conditions will be done in eight existing groundwater wells, including dedicated monitoring wells and agricultural production wells. If the project is successful and cost effective it could be continued in perpetuity to sustain long-term groundwater recharge and environmental benefits. Subject to acquisition of funding, an expansion of the project is planned for recharge and revegetation in the neighboring Sycamore and Dry Sloughs. | Direct recharge, on-farm | 2021 | 500
5-021.52 | Colusa | Urban Water Conservation in Willows | Cal Water Service - Willows District | Managing demand | Urban conservation | This project includes urban water conservation measures through water waste prevention ordinances, metering, conservation pricing, public education, and outreach programs to assess and manage distribution system real loss, water conservation program coordination and staffing support, and other demand management measures. | na | 2016 | 100
5-021.51 | Corning | Infrastructure Improvements for In-Lieu Recharge | OUWUA | Augmenting supplies | Recharge | The OUWUA Infrastructure Improvements for In-Lieu Recharge project goal is to modernize infrastructure and add management tools necessary to support and promote expanded surface water use for irrigation in lieu of groundwater pumping. The project incentivizes existing surface water users to continue using surface water for modern pressurized irrigation systems. The goal of the project is to maximize the use of surface water on lands within the OUWUA service area and potentially on neighboring lands within the context of strategic annexations. | In-lieu recharge, incentivize SW use | na | 18500
5-021.51 | Corning | Invasive Plant Removal | Stony Creek | Augmenting supplies | Invasive plant removal | The Subbasin has significant populations of Arundo donax (arundo) and tamarisk species along reaches of the Sacramento River, Stony Creek, Thomes Creek, and other smaller ephemeral streams and drainages. Ongoing invasive plant removal work is performed in the Subbasin under the oversight of the Resource Conservation District (RCD) of Glenn County in partnership with local agencies, organizations, and private landowners. The GSAs will support and seek to enhance the existing eradication programs in the Subbasin, including in Tehama County, as applicable, by working with the Tehama County RCD. | Decreases vegetation consumption of shallow groundwater | na | 9240
5-021.51 | Corning | Use of Full SW Allocation |  | Augmenting supplies | Recharge | Surface water use in the Subbasin has declined since the last major drought from 2012-2016, in response to surface water availability challenges and increased grower preference for groundwater use, due in part to investments made in wells. Currently, approximately 40% of the subbasin’s irrigated area has access to surface water supplies, with major active purveyors including OUWUA through the Orland Project and Corning WD, Thomes Creek WD, and Kirkwood WD through CVP contracts and surface water deliveries by the TCCA (Figure 7-5). If these purveyors were able to ensure full utilization of their contracted surface water allocations in wet and above normal years, it would improve the Subbasin’s overall water balance and lead to recovery or stabilization in groundwater levels. In 2014 and 2015 the CVP-contractors in the Subbasin received none of their surface water allocations, causing growers that relied on surface water to install groundwater production wells or fallow their fields. Since the 2012-2016 drought, growers have continued to use their wells rather than return to surface water irrigation due to surface water reliability, increasing surface water cost, investments made in infrastructure and systems to support using a groundwater well for irrigation purposes, and high costs for setting up a dual water source system for surface water and groundwater irrigation. | In-lieu recharge, incentivize SW use | na | 10500
5-022.16 | Cosumnes | Cosumnes River Flow Augmentation | Omochumne-Hartnell WD | Augmenting supplies | Recharge | The OHWD Cosumnes River Flow Augmentation PMA releases water from the FSC into the Cosumnes River during late-October through December when the Cosumnes River typically does not flow continuously between reaches. The discontinuity in surface flows impedes fish migration and spawning. The introduct ion of additional instream flows will support fish requirements and provide additional flows to increase leakage from the river that will recharge the basin. A pilot project was completed in 2005, and full implementation is contingent on securing a water source and funding (Robertson-Bryan, Inc. and Fisheries Foundation of California, 2006). | Secure CVP water to increase flows in Cosumnes River, providing recharge benefits | 2028 | 100
5-022.16 | Cosumnes | OHWD Flood MAR | Omochumne-Hartnell WD | Augmenting supplies | Recharge | As part of the pHWD Agricultural Flood-MAR project, winter diversions will be applied on up to 1,800 acres of dormant vineyards, orchards, and other farmlands for recharge to increase groundwater levels and groundwater storage. Although the targeted farmlands are located directly north of the Cosumnes River (in the South American Subbasin), as shown on Figure PMA-1, the resulting storage changes are expected to increase groundwater levels in the Cosumnes Subbasin and provide an almost 700 AFY augmentation to groundwater storage. | Direct recharge, on-farm | 2022 | 700
5-022.16 | Cosumnes | City of Galt Recycled Water Project | City of Galt | Shifting surface water use | Recycled water | Phase 1 (2022-2027): Secure agreements with landowners to expand area of fields that receive recycled water. Phase 2 (2028-2042): Expand existing summer irrigation of 160 acres with plant effluent to include year-round irrigation to a total of 640 acres. | na | 2028 | 300
5-022.16 | Cosumnes | SAFCA Flood MAR | Sacramento Area Flood Control Agency | Augmenting supplies | Recharge | The SAFCA Flood-MAR project includes augmenting storage with excess winter American River flows released from Folsom Reservoir and delivered to the Basin by the FSC. Recharge operations will include "flooding" up to 2,000 acres of dormant fields and/or passive injection from dry wells located along FSC. | Direct recharge, on-farm | 2028 | 5000
5-022.16 | Cosumnes | Voluntary Land Repurposing Phase 1 and Phase 2 |  | Managing demand | Land fallowing | Phase 1 (2022-2027): lncentivize farmers to voluntarily repurpose up to 1,000 acres (for example, temporary land fallowing) to provide a net reduction in groundwater consumption of about 2,700 AFY. Phase 2 (2028-2042): lncentivize farmers to voluntarily repurpose as many as 2,000 acres to provide at full implemenation a net reduction in groundwater consumption of 6,300 AFY, of which about 5,000 AFY would be available for extraction and sale. | na | 2022 | 4500
5-021.56 | Los Molinos | Multi-Benefit Recharge |  | Augmenting supplies | Recharge | The Nature Conservancy (TNC) has prepared guidance to assist GSAs in planning on-farm, multi-benefit groundwater recharge programs. A multi-benefit recharge program will provide groundwater recharge through normal farming operations while also providing critical wetland habitat for waterbirds migrating along the Pacific Flyway. Fields with soil and cropping conditions conducive to groundwater recharge will be flooded and maintained with shallow depths to benefit waterbirds. Water will be sourced from existing or new water rights, depending on availability. The GSA may also consider incentives for participants, offsetting field preparation, irrigation, and water costs. | Direct recharge, on-farm | na | 420
5-021.64 | North American | Conjunctive Use | City of Lincoln | Augmenting supplies | Recharge | Conjunctive use – expand use of recycled water to offset existing groundwater demand. | In-lieu recharge, utilize recycled water | na | 1000
5-021.64 | North American | Expansion of the Sacramento Regional Water Bank | Regional water authority | Augmenting supplies | Recharge | Implementation of the expanded conjunctive use program by constructing various system interties and booster pumps to increase in-lieu recharge; install aquifer storage and recovery (ASR) for direct recharge; install additional production wells to recover groundwater in dry years. The recharge potential and cost are “up to” amounts because the program is fully scalable. | In-lieu recharge, additional groundwater recover capacity | na | 30000
5-021.64 | North American | Regional Conjunctive Use Expansion Phase One | California American Water, Citrus Heights WD, City of Lincoln, City of Sacramento, Golden State Water Company, Rio Linda/Elverta Community WD, Sacramento County WA, Sacramento Suburban WD | Augmenting supplies | Recharge | This project identified additional conjunctive use that could be implemented in the near-term by re-operating existing water treatment and distribution facilities. The conjunctive use program was closely coordinated with the SASb and was evaluated as part of a single modeling evaluation. The project will provide additional surface water during wet years to reduce existing demand on groundwater. Some additional groundwater would be utilized during dry years, but average annual operations would result in a net decrease of groundwater extraction, resolving the deficit of 3,500 AF of projected overdraft with climate change. Agencies expected to participate by altering their groundwater extraction patterns to increase conjunctive use include California American Water, Citrus Heights Water District, City of Lincoln, City of Sacramento, Golden State Water Company, Rio Linda/Elverta Community Water District, Sacramento County Water Agency, and Sacramento Suburban Water District. | In-lieu recharge, increased conjunctive use and coordinated management | na | 7800
5-021.64 | North American | RiverArc | Placer County Water Agency | Shifting surface water use | Surface water treatment | A new treatment plant and pipeline would be constructed to bring Sacramento River water for municipal and industrial water supplies. Improves water supply security by having a water source from a different watershed and expands in-lieu conjunctive use by offsetting existing groundwater demands. | Constructs new treatment plant and pipeline to bring water from outside basin | na | 30000
5-021.64 | North American | Service Area Expansion | Natomas Mutual Water Compnay | Augmenting supplies | Recharge | Annexation of about 2,300 acres and supplying the area with surface water reducing groundwater pumping. This area has previously been solely dependent on groundwater. | In-lieu recharge; extend SW deliveries | na | 4600
5-021.50 | Red Bluff | Expanded Use of CVP Supplies in Proberta WD and Thomes Creek WD |  | Augmenting supplies | Recharge | Proberta Water District (PWD) and Thomes Creek Water District (TCWD) each encompass more than 2,000 acres of land in the Red Bluff Subbasin. The entire service area of PWD and approximately half of the service area of TCWD are located within the Red Bluff Subbasin. Both districts have existing contracts for Central Valley Project (CVP) water supplies that are delivered along the Corning Canal. These CVP supplies are generally used for irrigation as a supplement to local surface water and groundwater supplies. The maximum contract quantity available to PWD is 3,500 AF/yr, and the maximum contract quantity available to TCWD is 6,400 AF/yr, subject to seasonal restrictions and potential curtailments depending on water year type and water supply conditions. CVP contract supplies available to both districts are used for agricultural purposes. Historically, irrigators in PWD and TCWD have not used the full contract quantity. This project would incentivize expanded use of CVP supply by irrigators in PWD and TCWD, with the goal of using the full contract supply available to each district. By encouraging irrigators to use more surface water, this project would offset groundwater demand and provide in-lieu recharge benefits to Red Bluff Subbasin. PWD and TCWD have existing water contracts, infrastructure, and associated permitting in place to operate the proposed program. | In-lieu recharge, incentivize SW use | na | 1640
5-021.50 | Red Bluff | Multi-Benefit Recharge |  | Augmenting supplies | Recharge | An on-farm, multi-benefit groundwater recharge program has been developed for potential implementation in the Red Bluff Subbasin based on guidelines provided by The Nature Conservancy (TNC). The program would build on the successful TNC BirdReturns program by strategically flooding agricultural fields with the goals of (1) recharging groundwater supplies while (2) simultaneously creating critical winter habitat for shorebirds migrating along the Pacific Flyway. GSAs may consider offering financial incentives to growers to compensate them for recharging groundwater through field flooding in the course of normal farming operations, with multiple benefits to the underlying aquifer and shorebirds migrating along the Pacific Flyway. The multi-benefit recharge project would be implemented through the coordinated actions of growers who volunteer to participate and flood their fields during the course of normal farming operations. During the migratory period, fields with soil and cropping conditions conducive to groundwater recharge would be flooded and maintained with shallow water depths, recharging groundwater while also providing critical wetland habitat for migrating shorebirds. If an incentive structure is established, the program could provide financial incentives to growers, potentially paying for field preparation, irrigation, and water costs to encourage grower participation. Surface water used in this project is expected to be available from existing or new surface water rights contracts from waterways within or adjacent to the Subbasin. The availability and reliability of surface water for projects is described in Section 8.8. Existing or newly constructed diversion and conveyance infrastructure would be used to supply surface water to participating fields for multi-benefit groundwater recharge. Surface water would be delivered during a “flooding window,” generally from February through April. | Direct recharge, on-farm | na | 1160
5-021.50 | Red Bluff | Thomes Creek and Elder Creek Diversion for Direct or In-Lieu Recharge |  | Augmenting supplies | Recharge | A project to divert flood flows from Thomes Creek and Elder Creek has been developed for implementation in the Red Bluff Subbasin that could provide direct or in-lieu groundwater recharge benefits to the Subbasin and support local groundwater sustainability. This project is referred to in this section as the Thomes Creek and Elder Creek groundwater recharge project. During periods of flood flow in the winter and spring, project participants would divert a portion of the flows along Thomes Creek and Elder Creek for either (1) off-stream storage and subsequent use for irrigation, or (2) direct groundwater recharge via flood managed aquifer recharge (Flood-MAR), dedicated recharge basins, or modified stream beds. Project implementation would be distributed across participating fields and areas, operating through voluntary participants with access to existing or newly constructed diversion, conveyance, and other infrastructure suitable for Flood-MAR and/or off-stream storage and recharge. The project would be implemented each year that stormflows are available. | Direct recharge, on-farm | na | 690
5-021.66 | Solano | City of Vacaville Recycled Water |  | Shifting surface water use | Recycled water | Develop City’s Recycled Water Program as recommended in the 2020 Recycled Water Master Plan Feasibility Study, including construction and installation of recycled water treatment, storage, and conveyance facilities; development of a recycled water use ordinance; updating permits; and identifying customers and executing supply contracts. | na | 2023 | 2800
5-021.66 | Solano | Rainfall MAR Demonstration Project | Dixon RCD | Augmenting supplies | Recharge | The Rainfall Managed Aquifer Recharge (Rain-MAR) Demonstration Project is a voluntary demonstration to evaluate the use of specific MAR activities on local farms to generate multiple benefits for groundwater sustainability and stormwater management. Working with willing landowners, the project will develop and test methods for maximizing retention of precipitation on and reducing sheet runoff from agricultural fields in the Northwest Focus Area during winter storm events. In addition to recent groundwater level declines, the Northwest Focus Area drains to areas with flood water and stormwater management issues according to the Dixon Watershed Management Plan. TFT has worked closely with NRCS and the Dixon RCD to develop preliminary protocols for Rain-MAR practices. TFT also developed prioritization criteria to identify agricultural fields most conducive to Rain-MAR and methods to estimate volumetric benefits and implementation costs at a field scale. Applying these methods, TFT has identified 108 agricultural fields suitable for Rain-MAR within the Northwest Focus Area, including five fields where both the sump and berm methods are feasible and an additional 103 fields where only the sump method would be feasible. For this demonstration project, suitable sites will require the participation of willing landowners and fields with the following optimal characteristics: soil types, SAGBI rating8, subsurface soil texture from nearby well construction logs, groundwater levels as documented by groundwater monitoring efforts, crop types, field size, and topography. Precipitation will be the sole source of water for the project. Other sources of surface water will not be used. | Direct recharge | na | 100
5-021.66 | Solano | Westside Streams Stormwater Capture Project |  | Augmenting supplies | Recharge | A stormwater capture and recharge project has been developed for implementation in the Northwest Focus Area to supply groundwater recharge and support local groundwater sustainability. During periods of stormflow in the winter and spring, participating growers would divert a portion of storm flows from westside streams and flood their fields, supplying surplus water for direct groundwater recharge to the aquifer through flood managed aquifer recharge (FloodMAR). Project implementation would be distributed across the Northwest Focus Area, operating through voluntary participants with access to existing or newly constructed diversion, conveyance, and on-farm infrastructure suitable for field flooding. The project would be implemented each year that storm flows are available. | Direct recharge | 2025 | 2100
5-021.65 | South American | Harvest Water | Sacramento Regional County Sanitation District | Shifting surface water use | Recycled water | Sponsored by the Sacramento Regional County Sanitation District (Regional San), Harvest Water will provide a safe and reliable supply of disinfected tertiary-treated recycled water for agricultural uses. This project is expected to reduce groundwater pumping, support habitat protection efforts, enhance groundwater dependent ecosystems, and provide near-term benefits to the SASb and the Sacramento-San Joaquin Delta. The project will support efforts at maintaining sustainability indicators for groundwater storage, groundwater levels, and depletions of interconnected surface water in the SASb. The project will use the upgraded Sacramento Regional Wastewater Treatment Plant (scheduled to be completed in 2023) to deliver up to 50,000 acre-feet per year (AFY) of drought resistant recycled water to irrigate more than 16,000 acres of permanent agriculture and habitat conservation lands near the Cosumnes River and Stone Lakes Wildlife Refuge (Figure 4-2). The project is in the design phase and is expected to be operational by 2025. After start-up, the project will run continuously. | na | 2025 | 22500
5-021.65 | South American | OHWD Recharge | Omochumne-Hartnell WD | Augmenting supplies | Recharge | In Phase 1 of the pilot study, a temporary diversion permit was obtained from the State Water Resources Control Board allowing diversions from the Cosumnes River during periods of high flow from December 1, 2020 to February 15, 2021. This permit allowed for pumping at two locations at a rate of 2000 gallons per minute (gpm) and 5000 gpm, totaling 16 cubic feet per second (cfs). A second Phase of the pilot study will upgrade the pumping and conveyance systems to allow a maximum diversion rate of 50 cfs and total diversion to underground storage of 6000 AF during wet years. This phase will require a new temporary permit. Ultimately, the plan is to apply for the right to divert a portion of the peak winter flows in the Cosumnes River to allow permanent implementation of the second phase of the pilot study, i.e., a 6,000-AFY diversion during wet years for groundwater recharge, with extraction of this recharged volume during the next growing season to offset groundwater pumping demands. | Direct recharge, on-farm | na | 6000
5-021.65 | South American | Regional Conjunctive Use | California American Water, Citrus Heights WD, City of Lincoln, City of Sacramento, Golden State Water Company, Rio Linda/Elverta Community WD, Sacramento County WA, Sacramento Suburban WD | Augmenting supplies | Recharge | This project is a comprehensive regional conjunctive use program that will increase conjunctive use among both NASb and SASb municipal and industrial (M&I) water purveyors, including California American Water Company, Citrus Heights Water District, City of Lincoln, City of Sacramento, Golden State Water Company, SCWA, and Sacramento Suburban Water District. The project will utilize existing infrastructure and leverage ongoing planning processes to use available surface water through water transfers, groundwater recharge projects, wholesale agreements, or wheeling agreements (Figure 4-4). The goal is to provide long-term basin benefits through additional surface water supplies during wet years which would result in reduction of groundwater use. In addition, the program includes groundwater recovery operations by select entities during dry years. It is anticipated that project implementation will be heavily integrated with the Regional Reliability Program (RWA, 2018) and, ultimately, the future Sacramento Regional Water Bank, to track and manage the usage of water. | In-lieu recharge, increased conjunctive use and coordinated management | na | 7200
5-021.62 | Sutter | Boundary Flow and Primary Spill Measurement and Drainage Recovery Projects |  | Managing demand | Irrigation efficiency | Install measurement and monitoring equipment at boundary outflow and spillage sites to allow real-time monitoring and adjustment to upstream operations. Real-time monitoring will be implemented through the establishment of a District SCADA system. | na | na | 7500
5-021.62 | Sutter | Boundary Flow and Primary Spill Measurement and Drainage Recovery Projects |  | Managing demand | Irrigation efficiency | Install measurement and monitoring equipment at boundary outflow and spillage sites to allow real-time monitoring and adjustment to upstream operations. Real-time monitoring will be implemented through the establishment of a District SCADA system. | na | na | 7000
5-021.62 | Sutter | System Modernization |  | Managing demand | Irrigation efficiency | Table 7-7 summarizes the estimated average annual volumes of water conservation expected from each system modernization project at full implementation. These benefits are expected to occur primarily through spillage reduction following completion of all project phases. Estimates benefits for each project phase are summarized for BWD and SEWD in Appendices 7-B and 7-C, respectively. Each project is also expected to support the districts in better management of their surface water supplies. Benefits are expected to accrue beginning the first year of project implementation, increasing up to the total estimated average annual water conservation benefit at full project implementation | na | na | 9100
5-021.62 | Sutter | System Modernization |  | Managing demand | Irrigation efficiency | Table 7-7 summarizes the estimated average annual volumes of water conservation expected from each system modernization project at full implementation. These benefits are expected to occur primarily through spillage reduction following completion of all project phases. Estimates benefits for each project phase are summarized for BWD and SEWD in Appendices 7-B and 7-C, respectively. Each project is also expected to support the districts in better management of their surface water supplies. Benefits are expected to accrue beginning the first year of project implementation, increasing up to the total estimated average annual water conservation benefit at full project implementation | na | na | 3500
5-021.57 | Vina | 5.2.4.1 Paradise Irrigation District Intertie | Vina GSA, Paradise ID, Cal Water, local landowners | Augmenting supplies | Recharge | After the devastation of the 2018 Camp Fire in Paradise, California, PID lost 95% of their customers. To help PID sustain their business, this project proposes that PID supply Cal Water, which serves the City of Chico, with water from one of their surface waters sources. Currently, Chico’s only water source is groundwater, and their annual demand is 25,000 AF. The additional water source would help offset the groundwater demand and help groundwater levels stabilize in the Vina Subbasin. The SWRCB is currently conducting a study through Spring 2022 to help PID evaluate their options for long-term sustainability. This study will include the feasibility of the PID-Cal Water Intertie project. | In-lieu recharge; extend SW deliveries | na | 5000
5-021.57 | Vina | 5.2.4.2 Agricultural Surface Water Supplies | Vina GSA, RCRD GSA, local landowners | Shifting surface water use | Surface water trading | Under this project, surface water from water right holders in the neighboring Butte Subbasin and the upper watershed would provide water for the Vina North and South areas. Some of these surface water sources would include the Sacramento River and Lake Oroville. Surface water would help agricultural users reduce their groundwater usage. Agricultural users may need to install a dual irrigation system that allows them to switch between groundwater and surface water depending on the availability of the surface water. Implementation of some of the projects could also lead to recharge opportunities, as additional water may be available during the offpeak irrigation season. | na | 2025 | 2500
5-021.57 | Vina | 5.2.4.3 Streamflow Augmentation | Vina GSA, RCRD GSA, Paradise ID, PG&E, local landowners | Augmenting supplies | Recharge | Under the management of the Vina GSA, this project would transport excess water from PID, PG&E, and / or other water right holders in the upper watershed to various parts of the Vina Subbasin through creeks and streams. The goal of the project would be to provide additional water sources to riparian water holders such as Durham Mutual, Rancho Esquon, M&T Ranch, and Gorrill Ranches as well as increase stream flows and direct and in-lieu recharge. Prior to the start of the project, Vina GSA would conduct an investigation and feasibility study to ensure that enough surface water would be available. The project would primarily take place at Comanche Creek, Butte Creek, Little Chico Creek, and Big Chico Creek. | In-lieu recharge | 2022 | 3000
5-021.57 | Vina | 5.2.4.5 Recycled Wastewater | Vina GSA, City of Chico, local landowners | Shifting surface water use | Recycled water | The City of Chico currently operates a wastewater treatment plant with a treatment capacity of 12 million gallons (36 AF) per day and discharges 13,000 AFY of the treated wastewater into the Sacramento River (in accordance with their waste discharge permit from the California Water Resources Control Board). Under this project, the city would review the feasibility of diverting some of their recycled wastewater from the Sacramento River to recharge ponds and/or non-crop vegetation in Chico. Existing regulations will be reviewed for the use of the recycled water for crop production. | Divert treated wastewater for recharge or to support native vegetation demands | 2030 | 5000
5-021.57 | Vina | 5.2.5.1 Extend Orchard Replacement | Vina GSA, local landowners | Managing demand | Land fallowing | Under this project, various funding sources would incentivize local growers to increase the duration of their current fallowing practice between orchard removal and replanting by one growing season. The extra time would allow the soil to fallow and decrease the overall demand on groundwater and other water sources. Additionally, this program may also reduce the need for soil treatments such as fumigation and expand recycling options for the previous orchard. This project has the potential to fallow between 1,600 and 3,200 acres per year in North and South Vina. As envisioned, this project would be dependent on the availability of financial incentives and willingness of landowners to participate. Participation in the program would be voluntary. | Extend temporary fallowing in orchards between tree replacement cycles | na | 6000
5-021.57 | Vina | 5.2.5.2 Recharge from the Miocene Canal | Vina GSA, PG&E, Butte County, local landowners | Augmenting supplies | Recharge | During the 2018 Camp Fire, the upper Miocene Canal, which is operated by PG&E, was destroyed. Under this project, the upper canal would be rebuilt and re-watered. Additionally, PG&E would sell the Miocene Canal system by mid-2022 and modify the system to increase water supply reliability. One such modification might include establishing recharge ponds along the west side of the Miocene Canal in areas conductive to recharging the Vina South Subbasin. | Direct recharge | na | 2000
5-021.57 | Vina | Agricultural Irrigation Efficiency |  | Managing demand | Irrigation efficiency | A survey is currently being conducted in North and South Vina by the Vina GSA, Agricultural Groundwater Users of Butte County, and Butte County Farm Bureau in order to evaluate current irrigation methods and practices, identify opportunities and methods to improve irrigation efficiency, determine potential issues preventing the adoption of efficiency practices, and provide recommendations for increasing participation in these practices. The results of this survey are expected to be available in September 2022, with implementation of the project expected to be initiated between 2024 and 2030. Recommendations from the survey will be made available to the local agricultural community, and implementation of the practices will be voluntary. The Wyandotte Creek GSA along with participating partners will pursue grant funds to help implement these practices. It is estimated that the adoption of more efficient practices could reduce groundwater demand by up to 2%, which translates to a reduction in groundwater demand of up to 4,000 AFY. | na | 2024 | 2000
5-021.57 | Vina | Residential Conservation |  | Managing demand | Urban conservation | Cal Water Chico, which provides water to the City of Chico via groundwater, proposed a series of conservation projects under their 2020 UWMP, including toilet replacement, urinal valve and bowl replacement, clothes washer replacement, residential conservation kits, smart controllers, high efficiency irrigation nozzles, and turf buy-back. | na | 2022 | 100
5-021.69 | Wyandotte Creek | 5.2.5.1 Intra-Basin Water Transfer | TWSD, Butte County, DWR, agricultural users | Augmenting supplies | Recharge | Under this project, surface water would be supplied to agricultural groundwater users in the Wyandotte Creek Subbasin outside of the subbasin to offset groundwater pumping by with available surface water | In-lieu recharge; extend SW deliveries | 2023 | 4000
5-021.69 | Wyandotte Creek | 5.2.5.2. Agricultural Surface Water Supplies | Wyandotte Creek GSA, Farm Bureau, agricultural users | Augmenting supplies | Recharge | In the 2018 “Evaluation of Restoration and Recharge Within Butte County Basins,” Butte County identified surface water sources that could be diverted to fields, recharge basins, and/or recharge ponds in both the Vina and Wyandotte Creek Subbasins. For Wyandotte Creek, the main source of surface water would come from Lake Oroville, while other sources are owned by water right holders in the Wyandotte Creek Subbasin and upper watershed. Under this project, surface water would be used in place of groundwater in agricultural settings to allow groundwater levels in the Wyandotte Creek Subbasin to recover. Agricultural users may need a dual irrigation system that allows them to use surface water and switch to groundwater when surface water is not available. | In-lieu recharge | 2025 | 2500
5-021.69 | Wyandotte Creek | Agricultural Irrigation Efficiency | Wyandotte Creek GSA, Vina GSA, Butte County, Farm Bureau, agricultural users | Managing demand | Irrigation efficiency | A survey is currently being conducted in North and South Vina by the Vina GSA, Agricultural Groundwater Users of Butte County, and Butte County Farm Bureau in order to evaluate current irrigation methods and practices, identify opportunities and methods to improve irrigation efficiency, determine potential issues preventing the adoption of efficiency practices, and provide recommendations for increasing participation in these practices. The results of this survey are expected to be available in September 2022, with implementation of the project expected to be initiated between 2024 and 2030. Recommendations from the survey will be made available to the local agricultural community, and implementation of the practices will be voluntary. The Wyandotte Creek GSA along with participating partners will pursue grant funds to help implement these practices. It is estimated that the adoption of more efficient practices could reduce groundwater demand by up to 2%, which translates to a reduction in groundwater demand of up to 4,000 AFY. | na | 2024 | 2000
5-021.69 | Wyandotte Creek | Residential Water Conservation | Wyandotte Creek GSA, municipal water providers | Managing demand | Urban conservation | Municipal water providers, who currently supply water to the City of Oroville and others throughout Butte County, are planning to implement water conservation practices in accordance with their 2020 UWMP. Some of these conservation projects include the installation of low flow fixtures, toilet replacements, urinal valve and bowl replacements, clothes washer replacements, residential conservation kits, smart controllers, and high efficiency irrigation nozzles. Other projects include water waste prevention ordinances, metering, conservation pricing, public education and outreach, programs to assess and manage distribution system real loss, water conservation program coordination and staffing support, and other demand management measures. | na | 2022 | 100
5-021.69 | Wyandotte Creek | Streamflow Augmentation | Wyandotte Creek GSA, PG&E, surface rights holders | Augmenting supplies | Recharge | Under this project, flood waters from water right holders in the region would be diverted to certain creeks or streams in the Wyandotte Creek Subbasin. This flood waters would be used for direct and in-lieu recharge to restore groundwater levels in the basin, as well as increase stream flows. The Wyandotte Creek GSA would head the project and initially conduct an investigation and feasibility study. | Direct recharge, divert flood waters to other streams or creeks for infiltration | 2022 | 3000
5-021.69 | Wyandotte Creek | TWSD Water Treatment Plant Capacity Upgrade | TWSD, DWR division of drinking water | Shifting surface water use | Surface water treatment | The TWSD is planning to increase the capacity of the water treatment plant serving the city of Oroville and surrounding area. By treating a greater volume of water for the area, the amount of groundwater pumped for drinking water can decrease. | na | na | 500
5-021.67 | Yolo | City of Winters Recyled Water Utilization | City of Winters | Shifting surface water use | Recycled water | The city of Winters Waste Water Treatment Facility is secondary treatment. This water is currently discharged to 170 acres on two spray fields. No water leaves the facility, and none of the effluent comes in contact with any surface waterway. In 2020, 267.4 acre-feet of water were discharged for percolation and evaporation. In 2019, 240 acre-feet were discharged for percolation and evaporation. This project is ongoing. There may be opportunities to develop the groundwater recharge aspect of this project. | na | na | 200
5-021.67 | Yolo | Sac River Water to Davis/Woodland | City of Davis, City of Woodland | Augmenting supplies | Recharge | This project has already been implemented. The Woodland-Davis Clean Water Agency will continue to use Sacramento River water when available and supplement with groundwater when needed. The average surface water utilization is around 40,000 AFY. Effects of this project are being studied. | In-lieu recharge, replace groundwater use in Davis and Woodland with Sacramento River water | na | 40000
5-021.67 | Yolo | Sites West Sacramento Valley Water Filtration System | YSGA | Shifting surface water use | Surface water treatment | This would be a domestic water use filtration system for Sites Reservoir sphere of influence in West Sacramento Valley. Project could focus on Colusa and North Yolo counties or extend northward into Shasta County. | Treated surface water from Sites Reservoir for urban use | 2030 | 25000
5-021.67 | Yolo | West Sacramento and City of Sacramento Intertie | City of West Sacramento | Shifting surface water use | Conveyance | Coordinate conjunctive use activities and provide emergency water supplies. | Building new conveyance infrastructure to coordinate conjunctive use activities | 2024 | 2700
5-021.67 | Yolo | West Sacramento Well Improvements | City of West Sacramento | Augmenting supplies | Recharge | Groundwater recharge and extraction project for groundwater storage, groundwater quality management, and system redundancy. | Direct recharge | 2024 | 700
5-021.67 | Yolo | Woodland Recycled Water Utility Expansion Project | City of Woodland | Shifting surface water use | Recycled water | The city of Woodland currently has tertiary treated Title 22 effluent from the City’s Water Pollution Control Facility (WPCF) providing a firm capacity of approximately 2,700 gpm for recycled water. Woodland has an existing recycled water utility serving 2 City parks and a large industrial user in the industrial area northwest of the WPCF. The City has planned for an expansion of the recycled water utility into the Spring Lake Area of the City and also to serve the planned Woodland Research & Technology Park. There are several existing large water users that would use the recycled water for irrigation of parks and roadside landscaping. Businesses in the Research Park would utilize recycled water for cooling buildings. In addition, recycled water would be available to extend into new development areas for landscape irrigation. Portions of recycled water pipelines in Spring Lake have already been constructed by development projects. Providing recycled water to these areas would reduce demands on the potable water distribution system and reduce the demand on the groundwater aquifer. The recycled water pipeline would be constructed in the City's existing right of way. | na | na | 100
5-021.67 | Yolo | YCFC&WCD Winter Recharge | YCFC, WCD | Augmenting supplies | Recharge | This project increases winter recharge by utilizing YCFC&WCD sloughs and canals. This is an ongoing project and can only be conducted under certain circumstances. The water diverted into unlined district canals varies on an annual basis between a minimum of 0 AFY and a maximum of around 30,000 AFY. | Direct recharge | na | 15000
5-021.67 | Yolo | Guinda Ditch summer irrigation and pipelines from Cache Creek to other side of Highway 16 | YCFC, WCD | Shifting surface water use | Conveyance | Guinda ditch could be reactivated to provide additional Cache Creek water during the irrigation season to Capay Valley. | Reactivate retired surface water conveyance infrastructure | na | 2000
5-021.67 | Yolo | Magnolia Canal Loss Reduction and Extension Project | YCFC, WCD | Shifting surface water use | Conveyance | This is a proposed 1.5 miles of pipeline to extend and reduce loss in the Magnolia Canal system. This project might increase surface water usage in this area, and thus reduce groundwater demand. Currently, Magnolia Canal has high losses to groundwater, so this loss reduction project would likely decrease the current amount of surface water to groundwater recharge. Extending the canal, however, may allow for decreased reliance on groundwater at the end of Magnolia Canal. A cost-benefit analysis will be conducted prior to project implementation. Quantification of the changes in groundwater recharge will need to be made to determine the benefits of this proposed project. | Improve conveyance infrastructure to mitigate losses | na | 500
5-021.67 | Yolo | Rumsey and Guinda Ditch Winter Recharge | YCFC, WCD | Augmenting supplies | Recharge | Development of groundwater recharge capacity by utilizing Rumsey and Guinda ditch and conveying water to the Capay Valley. | Direct recharge | na | 2000
5-021.67 | Yolo | West Adams Canal Renovation and China Slough Rehabilitation | YCFC, WCD | Augmenting supplies | Recharge | This project would result in the enlargement and improvement of the YCFC&WCD's West Adams, East Adams, and Acacia Canal system, and rehabilitation and improvement of China Slough to allow for a demand system and to ensure no spills. China Slough would need to be cleaned, an operating road constructed, and installation of about eight check structures. Improvement of this system would increase capacity for groundwater recharge, both in-lieu and actual. | In-lieu recharge; direct recharge | na | 10000
5-021.67 | Yolo | Zamora area winter recharge from Cache Creek via China Slough |  | Augmenting supplies | Recharge | This project would be the development of groundwater recharge capacity by utilizing China Slough and conveying water to the Zamora area. Utilizing existing YCFC&WCD infrastructure would allow for water to reach China Slough and be conveyed to the Zamora area. This project is related to another proposed project - West Adams Canal Renovation and China Slough Rehabilitation. The rehabilitation of China Slough would likely need to occur prior to any successful groundwater recharge events occurring. | Direct recharge | na | 2000

## Download links for GSPs
Basin number | Basin name | Link to GSP(s):
5-021.54 | Antelope | https://sgma.water.ca.gov/portal/gsp/preview/134
5-021.70 | Butte | https://sgma.water.ca.gov/portal/gsp/preview/98
5-021.52 | Colusa | https://sgma.water.ca.gov/portal/gsp/preview/92
5-021.51 | Corning | https://sgma.water.ca.gov/portal/gsp/preview/94
5-022.16 | Cosumnes | https://sgma.water.ca.gov/portal/gsp/preview/106
5-021.56 | Los Molinos | https://sgma.water.ca.gov/portal/gsp/preview/139
5-021.60 | North Yuba | https://sgma.water.ca.gov/portal/gsp/preview/53
5-021.64 | North American | https://sgma.water.ca.gov/portal/gsp/preview/100
5-021.50 | Red Bluff | https://sgma.water.ca.gov/portal/gsp/preview/140
5-021.66 | Solano | https://sgma.water.ca.gov/portal/gsp/preview/117
5-021.61 | South Yuba | https://sgma.water.ca.gov/portal/gsp/preview/52
5-021.65 | South American | https://sgma.water.ca.gov/portal/gsp/preview/111
5-021.62 | Sutter | https://sgma.water.ca.gov/portal/gsp/preview/112
5-021.57 | Vina | https://sgma.water.ca.gov/portal/gsp/preview/86
5-021.69 | Wyandotte Creek | https://sgma.water.ca.gov/portal/gsp/preview/99
5-021.67 | Yolo | https://sgma.water.ca.gov/portal/gsp/preview/96